## Matrix
Midland Fire Direct — Cause & Effect Matrix (template)
Legend: E = evacuate signal A = alert signal blank = no action X = activate (interface / plant / AOV / VA)
Notes convention: "3 min delay" · "MCP activation overrides delay" · "double knock overrides delay — as per matrix"
Midland Fire Direct — midlandfire.direct — 0844 997 0001 · Template for your cause-and-effect strategy; test row by row as a truth table.
Cause (zone) | Z1 | Z2 | Z3 | Z4 | Z5 | Z6 | Z7 | Z8 | Z9 | Z10 | Z11 | Z12 | Plant 1 | Plant 2 | AOV | VA | Notes
Zone 1 — EXAMPLE, edit or delete | Z1: E; Z2: A; Z3: A; Plant 1: X | X | X | 3 min delay; MCP activation overrides delay; double knock overrides delay — as per matrix
Zone 2
Zone 3
Zone 4
Zone 5
Zone 6
Zone 7
Zone 8
Zone 9
Zone 10
Zone 11
Zone 12

## Verification
Midland Fire Direct — Cause & Effect Verification (truth-table test sheet)
Walk the matrix row by row at commissioning: prove each cause gives the expected effect, and record it.
Cause (zone / device) | Expected result (from the strategy) | Tested (date / initials) | Pass / fail | Notes and defects
Zone 1
Zone 2
Zone 3
Zone 4
Zone 5
Zone 6
Zone 7
Zone 8
Zone 9
Zone 10
Zone 11
Zone 12